## SWAE
MSID/LLFC | Site Name | Connection Voltage (kV) | Voltage of circuit to which the Meter is connected (primary voltage) (kV) | Winter Peak | Winter Week Day | Night | Other | Import / Export and Agreed Capacity | When were the LLFs last calculated for the MSID? | Are the LLFs Site Specific? | Was the site included in the previous approved submission? | Have any of the MSIDs undergone a relevant change since the previous approved submission?
419 | Spare EHV 132kV 6 | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Import | Sept 2012 for 2013 | No | No | No
420 | Spare EHV 132kV 7 | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Import | Sept 2012 for 2013 | No | No | No
421 | Spare EHV 132kV 8 | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Import | Sept 2012 for 2013 | No | No | No
422 | Spare EHV 132kV 9 | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Import | Sept 2012 for 2013 | No | No | No
423 | Spare EHV 132kV 10 | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Import | Sept 2012 for 2013 | No | No | No
424 | Spare EHV 132kV 11 | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Import | Sept 2012 for 2013 | No | No | No
425 | Spare EHV 132kV Export 6 | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Export | Sept 2012 for 2013 | No | No | No
426 | Spare EHV 132kV Export 7 | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Export | Sept 2012 for 2013 | No | No | No
427 | Spare EHV 132kV Export 8 | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Export | Sept 2012 for 2013 | No | No | No
428 | Spare EHV 132kV Export 9 | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Export | Sept 2012 for 2013 | No | No | No
429 | Spare EHV 132kV Export 10 | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Export | Sept 2012 for 2013 | No | No | No
430 | Spare EHV 132kV Export 11 | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Export | Sept 2012 for 2013 | No | No | No
460 | Spare EHV 33kV 47 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
461 | Spare EHV 33kV 48 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
462 | Spare EHV 33kV 49 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
463 | Spare EHV 33kV 50 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
464 | Spare EHV 33kV 51 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
465 | Spare EHV 33kV 52 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
466 | Spare EHV 33kV 53 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
467 | Spare EHV 33kV 54 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
468 | Spare EHV 33kV 55 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
469 | Spare EHV 33kV 56 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
470 | Spare EHV 33kV 57 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
471 | Spare EHV 33kV 58 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
472 | Spare EHV 33kV 59 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
473 | Spare EHV 33kV 60 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
474 | Spare EHV 33kV 61 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
475 | Spare EHV 33kV 62 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
476 | Spare EHV 33kV 63 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
477 | Spare EHV 33kV 64 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
478 | Spare EHV 33kV 65 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
479 | Spare EHV 33kV 66 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
480 | Spare EHV 33kV 67 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
481 | Spare EHV 33kV 68 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
482 | Spare EHV 33kV 69 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
483 | Spare EHV 33kV 70 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
484 | Spare EHV 33kV 71 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
485 | Spare EHV 33kV 72 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
486 | Spare EHV 33kV 73 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
487 | Spare EHV 33kV 74 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
488 | Spare EHV 33kV 75 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
489 | Spare EHV 33kV 76 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
490 | Spare EHV 33kV 77 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
491 | Spare EHV 33kV 78 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
492 | Spare EHV 33kV 79 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
493 | Spare EHV 33kV 80 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
494 | Spare EHV 33kV 81 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
495 | Spare EHV 33kV 82 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
496 | Spare EHV 33kV 83 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
497 | Spare EHV 33kV 84 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
498 | Spare EHV 33kV 85 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
499 | Spare EHV 33kV 86 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
500 | Spare EHV 33kV 87 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
576 | Spare EHV 33kV 88 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
610 | Spare EHV 33kV 89 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
611 | Spare EHV 33kV 90 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
612 | Spare EHV 33kV 91 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
613 | Spare EHV 33kV 92 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
614 | Spare EHV 33kV 93 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
615 | Spare EHV 33kV 94 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
634 | Spare EHV 33kV 95 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
635 | Spare EHV 33kV 96 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | No | No
504 | Corus Trostre | 33kV | 33kV | 1.009 | 1.009 | 1.009 | 1.009 | Import | Sept 2010 for 2011 | Yes | Yes | No
505 | Corus Orb | 33kV | 33kV | 1.005 | 1.005 | 1.005 | 1.005 | Import | Sept 2010 for 2011 | Yes | Yes | No
507 | ABB Cornelly | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient load. | Yes | No
508 | Bettws | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
509 | Blaen Bowi | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
510 | Alpha Steel | 33kV | 33kV | 1 | 1 | 1 | 1 | Import | Sept 2010 for 2011 | Yes | Yes | No
511 | BOC Margam | 132kV | 132kV | 1.001 | 1.001 | 1.001 | 1.001 | Import | Sept 2010 for 2011 | Yes | Yes | No
512 | Ford Bridgend | 132kV | 132kV | 1.006 | 1.006 | 1.005 | 1.006 | Import | Sept 2010 for 2011 | Yes | Yes | No
513 | Alcoa | 33kV | 33kV | 1.002 | 1.002 | 1.012 | 1.002 | Import | Sept 2010 for 2011 | Yes | Yes | No
514 | ASW Rod Mill | 132/11kV | 11kV | 1.008 | 1.007 | 1.008 | 1.008 | Import | Sept 2010 for 2011 | Yes | Yes | No
515 | Total Fina Elf | 132/11kV | 11kV | 1.019 | 1.019 | 1.02 | 1.02 | Import | Sept 2010 for 2011 | Yes | Yes | No
517 | PCC Texaco | 132/11kV | 11kV | 1.004 | 1.004 | 1.004 | 1.004 | Import | Sept 2010 for 2011 | Yes | Yes | No
518 | Whitbread Magor | 132/11kV | 11kV | 1.005 | 1.005 | 1.005 | 1.005 | Import | Sept 2010 for 2011 | Yes | Yes | No
519 | Mainline Pipelines | 132/11kV | 11kV | 1.019 | 1.019 | 1.019 | 1.019 | Import | Sept 2010 for 2011 | Yes | Yes | No
520 | ASW 33kV | 33kV | 33kV | 1.017 | 1.018 | 1.018 | 1.018 | Import | Sept 2010 for 2011 | Yes | Yes | No
521 | Tower | 33kV | 33kV | 1.05 | 1.039 | 1.042 | 1.048 | Import | Sept 2010 for 2011 | Yes | Yes | No
522 | Blue Circle Cement | 33kV | 33kV | 1.001 | 1.001 | 1.002 | 1.002 | Import | Sept 2010 for 2011 | Yes | Yes | No
528 | Ford Swansea | 33kV | 33kV | 1.012 | 1.012 | 1.012 | 1.012 | Import | Sept 2010 for 2011 | Yes | Yes | No
529 | Inco | 33kV | 33kV | 1.004 | 1.004 | 1.004 | 1.004 | Import | Sept 2010 for 2011 | Yes | Yes | No
531 | Swansea University | 33kV | 11kV | 1.011 | 1.013 | 1.011 | 1.012 | Import | Sept 2010 for 2011 | Yes | Yes | No
532 | DCWW Nantgaredig | 33kV | 33kV | 1.14 | 1.111 | 1.112 | 1.109 | Import | Sept 2010 for 2011 | Yes | Yes | No
533 | Fort James | 66/11kV | 11kV | 1.017 | 1.017 | 1.017 | 1.017 | Import | Sept 2010 for 2011 | Yes | Yes | No
534 | BORDEN | 132/11kV | 11kV | 1.005 | 1.005 | 1.005 | 1.005 | Import | Sept 2010 for 2011 | Yes | Yes | No
535 | SOLUTIA | 132/11kV | 11kV | 1.006 | 1.006 | 1.006 | 1.006 | Import | Sept 2010 for 2011 | Yes | Yes | No
536 | Dow Corning | 132kV | 132kV | 1.003 | 1.003 | 1.003 | 1.003 | Import | Sept 2010 for 2011 | Yes | Yes | No
538 | DCWW Rover Way | 132/11kV | 11kV | 1.006 | 1.006 | 1.006 | 1.006 | Import | Sept 2010 for 2011 | Yes | Yes | No
539 | Simms Metals | 132kV | 132kV | 1.002 | 1.002 | 1.002 | 1.002 | Import | Sept 2010 for 2011 | Yes | Yes | No
541 | Milford Energy Import | 132/11kV | 11kV | 1.011 | 1.011 | 1.01 | 1.01 | Import | Sept 2010 for 2011 | Yes | Yes | No
542 | South Hook | 33kV | 33kV | 1.013 | 1.013 | 1.012 | 1.012 | Import | Sept 2010 for 2011 | Yes | Yes | No
544 | Whitehead Works | 33kV | 33kV | 1.006 | 1.006 | 1.005 | 1.006 | Import | Sept 2010 for 2011 | Yes | Yes | No
545 | FELINDRE | 33kV | 33kV | 1.004 | 1.009 | 1.003 | 1.005 | Import | Sept 2010 for 2011 | Yes | Yes | No
546 | TIMET | 33kV | 33kV | 1.004 | 1.004 | 1.005 | 1.005 | Import | Sept 2010 for 2011 | Yes | Yes | No
547 | Blaen Cregan | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Import | Sept 2012 for 2013 | No, insufficient load. | Yes | No
548 | Blaengwen Wind Farm | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
549 | Bryn Titli Wind Farm | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Import | Sept 2012 for 2013 | No, insufficient load. | Yes | No
571 | Crymlin Burrows | 33kV | 33kV | 1.007 | 1.007 | 1.007 | 1.007 | Import | Sept 2010 for 2011 | Yes | Yes | No
572 | Dyffryn Brodyn Wind Farm | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient load. | Yes | No
573 | Fochriw | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
574 | Llyn Brianne | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient load. | Yes | No
575 | Maerdy | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
577 | Margam Biomass | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient load. | Yes | No
578 | Newport Biomass | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
579 | Pwllfa Watkin | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient load. | Yes | No
580 | Taff Ely Wind Farm | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient load. | Yes | No
581 | Trecatti | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient load. | Yes | No
582 | Withyhedges Landfill | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient load. | Yes | No
583 | Parc Cynog | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
584 | Parc Cynog (Pendine) | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
585 | Maesgwyn | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
586 | Ferndale | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
587 | Pant y Wal WF | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
588 | Mynydd Portref | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
589 | Newton Down | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
590 | Spare EHV 132kV 5 | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
591 | Llynfi Biomass | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Export | Sept 2012 for 2013 | No, insufficient data | Yes | No
592 | Trostrey Court | 66/11kV | 11kV | 1.049 | 1.048 | 1.045 | 1.044 | Export | Sept 2012 for 2013 | No, insufficient data | Yes | No
593 | Thyssenkruup Camford Pressing | 33/11kV | 11kV | 1.032 | 1.031 | 1.026 | 1.028 | Import | Sept 2012 for 2013 | No | Yes | No
594 | Hoover | 33/11kV | 11kV | 1.032 | 1.031 | 1.026 | 1.028 | Import | Sept 2012 for 2013 | No | Yes | No
601 | Tata Margam CefnG Export | 66kV | 66kV | 1.001 | 1.009 | 1.006 | 1.008 | Export | Sept 2010 for 2011 | Yes | Yes | No
617 | Solutia Export | 132/11kV | 11kV | 1.017 | 1.016 | 1.015 | 1.015 | Export | Sept 2010 for 2011 | Yes | Yes | No
618 | Total Fina Elf Export | 132/11kV | 11kV | 1.026 | 1.026 | 1.026 | 1.026 | Export | Sept 2010 for 2011 | Yes | Yes | No
619 | Whitbread Magor Export | 132/11kV | 11kV | 1.006 | 1.006 | 1.007 | 1.007 | Export | Sept 2010 for 2011 | Yes | Yes | No
620 | University Hospital of Wales | 33/11kV | 11kV | 1.032 | 1.031 | 1.026 | 1.028 | Import | Sept 2012 for 2013 | No | Yes | No
621 | Tower Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2010 for 2011 | No | Yes | No
622 | MOD Qinetiq | 33/11kV | 11kV | 1.032 | 1.031 | 1.026 | 1.028 | Import | Sept 2012 for 2013 | No | Yes | No
623 | Western Coal | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2010 for 2011 | No | Yes | No
625 | Tregaron | 33/11kV | 11kV | 1.032 | 1.031 | 1.026 | 1.028 | Import | Sept 2012 for 2013 | No | Yes | No
627 | Green Frog STOR W/lwydd | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
628 | Briton Ferry STOR | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
629 | Hirwaun STOR | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
631 | Ffos Las PV | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
632 | Pont Andrew PV | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No, insufficient data | Yes | No
633 | Fort James Export | 66/11kV | 11kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2010 for 2011 | No, insufficient data | Yes | No
636 | Dow Corning Export | 132kV | 132kV | 1.003 | 1.003 | 1.003 | 1.003 | Export | Sept 2010 for 2011 | Yes | Yes | No
642 | Pont Andrew PV Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No, insufficient data | Yes | No
643 | Ffos Las PV Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No, insufficient data | Yes | No
644 | Hirwaun STOR Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No, insufficient data | Yes | No
645 | Briton Ferry STOR Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No, insufficient data | Yes | No
646 | Green Frog STOR W/lwydd Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No, insufficient data | Yes | No
647 | Trostrey Court Export | 66/11kV | 11kV | 1.049 | 1.048 | 1.045 | 1.044 | Export | Sept 2012 for 2013 | No, insufficient data | Yes | No
648 | Llynfi Biomass Export | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Export | Sept 2012 for 2013 | No, insufficient data | Yes | No
649 | Spare EHV 132kV 5 Export | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Export | Sept 2012 for 2013 | No, insufficient data | Yes | No
650 | Taff Ely Wind Farm Export | 33kV | 33kV | 1.03 | 1.03 | 1.031 | 1.031 | Export | Sept 2010 for 2011 | Yes | Yes | No
651 | Bryn Titli Wind Farm Export | 66kV | 66kV | 1.137 | 1.138 | 1.139 | 1.139 | Export | Sept 2010 for 2011 | Yes | Yes | No
652 | Dyffryn Brodin Wind Farm Exp | 33kV | 33kV | 1.144 | 1.143 | 1.143 | 1.146 | Export | Sept 2010 for 2011 | Yes | Yes | No
653 | Llyn Brianne Export | 33kV | 33kV | 1.131 | 1.131 | 1.145 | 1.148 | Export | Sept 2010 for 2011 | Yes | Yes | No
658 | Tregaron Export | 33/11kV | 11kV | 1.032 | 1.031 | 1.026 | 1.028 | Export | Sept 2012 for 2013 | No | Yes | No
659 | Parc Cynog Export | 33kV | 33kV | 1.121 | 1.121 | 1.119 | 1.119 | Export | Sept 2010 for 2011 | Yes | Yes | No
660 | Blaen Bowi Export | 33kV | 33kV | 1.129 | 1.126 | 1.13 | 1.13 | Export | Sept 2010 for 2011 | Yes | Yes | No
661 | MARGAM BIOMASS Export | 33kV | 33kV | 0.997 | 0.997 | 0.997 | 0.998 | Export | Sept 2010 for 2011 | Yes | Yes | No
662 | Trecatti Export | 33kV | 33kV | 1.042 | 1.041 | 1.041 | 1.042 | Export | Sept 2010 for 2011 | Yes | Yes | No
663 | Blaen Cregan Wind Farm Export | 66kV | 66kV | 1.009 | 1.009 | 1.011 | 1.012 | Export | Sept 2010 for 2011 | Yes | Yes | No
664 | ABB Cornelly Export | 33kV | 33kV | 1.019 | 1.021 | 1.019 | 1.021 | Export | Sept 2010 for 2011 | Yes | Yes | No
665 | Crymlin Burrows Export | 33kV | 33kV | 1.026 | 1.026 | 1.026 | 1.026 | Export | Sept 2010 for 2011 | Yes | Yes | No
666 | Withyhedges Landfill Export | 33kV | 33kV | 1.056 | 1.057 | 1.057 | 1.057 | Export | Sept 2010 for 2011 | Yes | Yes | No
667 | Parc Cynog (Pendine) | 33kV | 33kV | 1.067 | 1.069 | 1.07 | 1.07 | Export | Sept 2012 for 2013 | Yes | Yes | No
668 | BLAENGWEN WIND FARM EXPORT | 132kV | 132kV | 1.049 | 1.05 | 1.051 | 1.051 | Export | Sept 2012 for 2013 | Yes | Yes | No
670 | Pwllfa Watkin Export | 33kV | 33kV | 1.032 | 1.034 | 1.032 | 1.032 | Export | Sept 2010 for 2011 | Yes | Yes | No
671 | Spare EHV 66kV 3 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Import | Sept 2012 for 2013 | No | No | No
672 | Spare EHV 66kV 4 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Import | Sept 2012 for 2013 | No | No | No
674 | Bettws Export | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Export | Sept 2012 for 2013 | No, insufficient data | Yes | No
675 | Fochriw EHV Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No, insufficient data | Yes | No
676 | Maerdy Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No, insufficient data | Yes | No
677 | Newport Biomass Export | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Export | Sept 2012 for 2013 | No, insufficient data | Yes | No
678 | Milford Energy Export | 132/11kV | 11kV | 1.016 | 1.017 | 1.017 | 1.017 | Export | Sept 2012 for 2013 | Yes | Yes | No
679 | Ferndale Export | 33kV | 33kV | 1.039 | 1.039 | 1.04 | 1.04 | Export | Sept 2012 for 2013 | Yes | Yes | No
680 | Spare EHV 66kV 5 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Import | Sept 2012 for 2013 | No | No | No
681 | Spare EHV 66kV 6 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Import | Sept 2012 for 2013 | No | No | No
682 | Spare EHV 66kV 7 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Import | Sept 2012 for 2013 | No | No | No
683 | Spare EHV 66kV 8 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Import | Sept 2012 for 2013 | No | No | No
684 | Maesgwyn Export | 132kV | 132kV | 1.016 | 1.016 | 1.016 | 1.016 | Export | Sept 2012 for 2013 | Yes | Yes | No
685 | Pant y Wal WF Export | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Export | Sept 2012 for 2013 | No, insufficient data | Yes | No
686 | Mynydd Portref Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No, insufficient data | Yes | No
687 | Newton Down Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No, insufficient data | Yes | No
688 | Spare EHV 66kV 9 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Import | Sept 2012 for 2013 | No | No | No
689 | Spare EHV 66kV 10 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Import | Sept 2012 for 2013 | No | No | No
721 | Spare EHV33kV Export 47 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
722 | Spare EHV33kV Export 48 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
723 | Spare EHV33kV Export 49 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
724 | Spare EHV33kV Export 50 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
725 | Spare EHV33kV Export 51 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
726 | Spare EHV33kV Export 52 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
727 | Spare EHV33kV Export 53 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
728 | Spare EHV33kV Export 54 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
729 | Spare EHV33kV Export 55 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
730 | Spare EHV33kV Export 56 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
731 | Spare EHV33kV Export 57 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
732 | Spare EHV33kV Export 58 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
733 | Spare EHV33kV Export 59 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
734 | Spare EHV33kV Export 60 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
735 | Spare EHV33kV Export 61 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
736 | Spare EHV33kV Export 62 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
737 | Spare EHV33kV Export 63 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
738 | Spare EHV33kV Export 64 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
739 | Spare EHV33kV Export 65 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
740 | Spare EHV33kV Export 66 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
741 | Spare EHV33kV Export 67 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
742 | Spare EHV33kV Export 68 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
743 | Spare EHV33kV Export 69 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
744 | Spare EHV33kV Export 70 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
745 | Spare EHV33kV Export 71 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
746 | Spare EHV33kV Export 72 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
747 | Spare EHV33kV Export 73 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
748 | Spare EHV33kV Export 74 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
749 | Spare EHV33kV Export 75 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
750 | Spare EHV 132kV 1 | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Import | Sept 2012 for 2013 | No | Yes | No
751 | Spare EHV 132kV 2 | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Import | Sept 2012 for 2013 | No | Yes | No
752 | Spare EHV 132kV 3 | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Import | Sept 2012 for 2013 | No | Yes | No
753 | Spare EHV 132kV 4 | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Import | Sept 2012 for 2013 | No | Yes | No
754 | Spare EHV 132/66kV 1 | 132/66kV | 66kV | 1.015 | 1.014 | 1.012 | 1.013 | Import | Sept 2012 for 2013 | No | Yes | No
755 | Spare EHV 132/66kV 2 | 132/66kV | 66kV | 1.015 | 1.014 | 1.012 | 1.013 | Import | Sept 2012 for 2013 | No | Yes | No
756 | Spare EHV 132/33kV 1 | 132/33kV | 33kV | 1.015 | 1.014 | 1.013 | 1.013 | Import | Sept 2012 for 2013 | No | Yes | No
757 | Spare EHV 132/33kV 2 | 132/33kV | 33kV | 1.015 | 1.014 | 1.013 | 1.013 | Import | Sept 2012 for 2013 | No | Yes | No
758 | Spare EHV 132/HV 1 | 132/11kV | 11kV | 1.017 | 1.016 | 1.015 | 1.015 | Import | Sept 2012 for 2013 | No | Yes | No
759 | Spare EHV 132/HV 2 | 132/11kV | 11kV | 1.017 | 1.016 | 1.015 | 1.015 | Import | Sept 2012 for 2013 | No | Yes | No
760 | Spare EHV66kV 1 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Import | Sept 2012 for 2013 | No | Yes | No
761 | Spare EHV66kV 2 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Import | Sept 2012 for 2013 | No | Yes | No
762 | Spare EHV33kV 1 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
763 | Spare EHV33kV 2 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
764 | Spare EHV33kV 3 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
765 | Spare EHV33kV 4 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
766 | Spare EHV 66/HV 1 | 66/11kV | 11kV | 1.049 | 1.048 | 1.045 | 1.044 | Import | Sept 2012 for 2013 | No | Yes | No
767 | Spare EHV 66/HV 2 | 66/11kV | 11kV | 1.049 | 1.048 | 1.045 | 1.044 | Import | Sept 2012 for 2013 | No | Yes | No
768 | Spare EHV 33/HV 1 | 33/11kV | 11kV | 1.032 | 1.031 | 1.026 | 1.028 | Import | Sept 2012 for 2013 | No | Yes | No
769 | Spare EHV 33/HV 2 | 33/11kV | 11kV | 1.032 | 1.031 | 1.026 | 1.028 | Import | Sept 2012 for 2013 | No | Yes | No
770 | Spare EHV 33/HV 3 | 33/11kV | 11kV | 1.032 | 1.031 | 1.026 | 1.028 | Import | Sept 2012 for 2013 | No | Yes | No
771 | Spare EHV 33/HV 4 | 33/11kV | 11kV | 1.032 | 1.031 | 1.026 | 1.028 | Import | Sept 2012 for 2013 | No | Yes | No
772 | Spare EHV33kV Export 76 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
773 | Spare EHV33kV Export 77 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
774 | Spare EHV33kV Export 78 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
775 | Spare EHV33kV Export 79 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
776 | Spare EHV33kV Export 80 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
777 | Spare EHV33kV Export 81 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
778 | Spare EHV 132kV 1 Export | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Export | Sept 2012 for 2013 | No | Yes | No
779 | Spare EHV 132kV 2 Export | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Export | Sept 2012 for 2013 | No | Yes | No
780 | Spare EHV 132kV 3 Export | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Export | Sept 2012 for 2013 | No | Yes | No
781 | Spare EHV 132kV 4 Export | 132kV | 132kV | 1.01 | 1.009 | 1.006 | 1.008 | Export | Sept 2012 for 2013 | No | Yes | No
782 | Spare EHV 132/66kV 1 Export | 132/66kV | 66kV | 1.015 | 1.014 | 1.012 | 1.013 | Export | Sept 2012 for 2013 | No | Yes | No
783 | Spare EHV 132/66kV 2 Export | 132/66kV | 66kV | 1.015 | 1.014 | 1.012 | 1.013 | Export | Sept 2012 for 2013 | No | Yes | No
784 | Spare EHV 132/33kV 1 Export | 132/33kV | 66kV | 1.015 | 1.014 | 1.013 | 1.013 | Export | Sept 2012 for 2013 | No | Yes | No
785 | Spare EHV 132/33kV 2 Export | 132/33kV | 66kV | 1.015 | 1.014 | 1.013 | 1.013 | Export | Sept 2012 for 2013 | No | Yes | No
786 | Spare EHV 132/HV 1 Export | 132/11kV | 11kV | 1.017 | 1.016 | 1.015 | 1.015 | Export | Sept 2012 for 2013 | No | Yes | No
787 | Spare EHV 132/HV 2 Export | 132/11kV | 11kV | 1.017 | 1.016 | 1.015 | 1.015 | Export | Sept 2012 for 2013 | No | Yes | No
788 | Tata Margam Grange Export | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Export | Sept 2012 for 2013 | No | Yes | No
789 | Spare EHV66kV 2 Export | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Export | Sept 2012 for 2013 | No | Yes | No
790 | Tir John STOR Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
791 | West Farm PV Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
792 | Jordanston Farm PV Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
793 | Rudbaxton PV Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
794 | Spare EHV 66/HV 1 Export | 66/11kV | 11kV | 1.049 | 1.048 | 1.045 | 1.044 | Export | Sept 2012 for 2013 | No | Yes | No
795 | Spare EHV 66/HV 2 Export | 66/11kV | 11kV | 1.049 | 1.048 | 1.045 | 1.044 | Export | Sept 2012 for 2013 | No | Yes | No
796 | Spare EHV 33/HV 1 Export | 33/11kV | 11kV | 1.032 | 1.031 | 1.026 | 1.028 | Export | Sept 2012 for 2013 | No | Yes | No
797 | Spare EHV 33/HV 2 Export | 33/11kV | 11kV | 1.032 | 1.031 | 1.026 | 1.028 | Export | Sept 2012 for 2013 | No | Yes | No
798 | Spare EHV 33/HV 3 Export | 33/11kV | 11kV | 1.032 | 1.031 | 1.026 | 1.028 | Export | Sept 2012 for 2013 | No | Yes | No
799 | Spare EHV 33/HV 4 Export | 33/11kV | 11kV | 1.032 | 1.031 | 1.026 | 1.028 | Export | Sept 2012 for 2013 | No | Yes | No
880 | Tata Margam Grange | 66kV | 66kV | 1.001 | 1.001 | 1.001 | 1.001 | Import | Sept 2010 for 2011 | Yes | Yes | No
881 | Tata Margam CefnG | 66kV | 66kV | 1.001 | 1.001 | 1.001 | 1.001 | Import | Sept 2010 for 2011 | Yes | Yes | No
882 | Tir John STOR | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
883 | Wear Point WF | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
884 | West Farm PV | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
885 | Jordanston Farm PV | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
886 | Rudbaxton PV | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
887 | Wogaston Farm PV | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
888 | Dowlais STOR | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
889 | Hoplass Farm PV | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
890 | Trident Park Recovery | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
891 | Baglan Bay PV | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
892 | Caermelyn PV | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
893 | Liddlestone Ridge PV | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
894 | Spare EHV33kV 19 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
895 | Spare EHV33kV 20 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
896 | Spare EHV33kV 21 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
897 | Spare EHV33kV 22 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
898 | Spare EHV33kV 23 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
899 | Spare EHV33kV 24 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
900 | Spare EHV33kV 26 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
901 | Spare EHV33kV 27 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
902 | Spare EHV33kV 28 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
903 | Spare EHV33kV 29 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
904 | Spare EHV33kV 30 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
905 | Spare EHV33kV 31 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
906 | Spare EHV33kV 32 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
907 | Spare EHV33kV 33 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
908 | Spare EHV33kV 34 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
909 | Spare EHV33kV 35 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
910 | Spare EHV33kV 36 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
911 | Spare EHV33kV 37 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
912 | Spare EHV33kV 38 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
913 | Spare EHV33kV 39 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
914 | Spare EHV33kV 40 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
915 | Spare EHV33kV 41 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
916 | Spare EHV33kV 42 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
917 | Spare EHV33kV 43 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
918 | Spare EHV33kV 44 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
919 | Spare EHV33kV 45 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
920 | Spare EHV33kV 46 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Import | Sept 2012 for 2013 | No | Yes | No
921 | Spare EHV33kV Export 82 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
922 | Spare EHV33kV Export 83 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
923 | Spare EHV33kV Export 84 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
924 | Spare EHV33kV Export 85 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
925 | Spare EHV33kV Export 86 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
926 | Spare EHV33kV Export 87 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
927 | Spare EHV33kV Export 88 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
928 | Spare EHV33kV Export 89 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
929 | Spare EHV33kV Export 90 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
930 | Spare EHV33kV Export 91 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
931 | Spare EHV33kV Export 92 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
932 | Spare EHV33kV Export 93 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
933 | Spare EHV33kV Export 94 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
934 | Spare EHV33kV Export 95 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
935 | Spare EHV33kV Export 96 | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | No | No
940 | Wear Point WF Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
941 | Wogaston Farm PV Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
942 | Dowlais STOR Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
943 | Hoplass Parm PV Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
944 | Trident Park Recovery Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
945 | Baglan Bay PV Exports | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
946 | Caermelyn PV Exports | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
947 | Liddlestone Ridge PV Exports | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
948 | Spare EHV33kV 13 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
949 | Spare EHV33kV 14 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
950 | Spare EHV33kV 15 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
951 | Spare EHV33kV 16 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
952 | Spare EHV33kV 17 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
953 | Spare EHV33kV 18 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
954 | Spare EHV33kV 19 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
955 | Spare EHV33kV 20 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
956 | Spare EHV33kV 21 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
957 | Spare EHV33kV 22 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
958 | Spare EHV33kV 23 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
959 | Spare EHV33kV 24 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
960 | Spare EHV33kV 25 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
961 | Spare EHV33kV 26 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
962 | Spare EHV33kV 27 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
963 | Spare EHV33kV 28 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
964 | Spare EHV33kV 29 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
965 | Spare EHV33kV 30 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
966 | Spare EHV33kV 31 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
967 | Spare EHV33kV 32 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
968 | Spare EHV33kV 33 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
969 | Spare EHV33kV 34 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
970 | Spare EHV33kV 34 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
971 | Spare EHV33kV 35 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
972 | Spare EHV33kV 36 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
973 | Spare EHV33kV 37 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
974 | Spare EHV33kV 38 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
975 | Spare EHV33kV 39 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
976 | Spare EHV33kV 40 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
977 | Spare EHV33kV 41 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
978 | Spare EHV33kV 42 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
979 | Spare EHV33kV 43 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
980 | Spare EHV33kV 44 Export | 33kV | 33kV | 1.024 | 1.023 | 1.018 | 1.02 | Export | Sept 2012 for 2013 | No | Yes | No
981 | Spare EHV 66kV Export 3 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Export | Sept 2012 for 2013 | No | No | No
982 | Spare EHV 66kV Export 4 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Export | Sept 2012 for 2013 | No | No | No
983 | Spare EHV 66kV Export 5 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Export | Sept 2012 for 2013 | No | No | No
984 | Spare EHV 66kV Export 6 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Export | Sept 2012 for 2013 | No | No | No
985 | Spare EHV 66kV Export 7 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Export | Sept 2012 for 2013 | No | No | No
986 | Spare EHV 66kV Export 8 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Export | Sept 2012 for 2013 | No | No | No
987 | Spare EHV 66kV Export 9 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Export | Sept 2012 for 2013 | No | No | No
988 | Spare EHV 66kV Export 10 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Export | Sept 2012 for 2013 | No | No | No
989 | Spare EHV 66kV Export 11 | 66kV | 66kV | 1.039 | 1.039 | 1.035 | 1.035 | Export | Sept 2012 for 2013 | No | No | No
7051 | Centrica Barry Export | 132kV | 132kV | 0.997 | 0.997 | 0.998 | 0.997 | Export | Sept 2010 for 2011 | Yes | Yes | No
7159 | District Energy Solutia | 33kV | 33kV | 1.005 | 1.005 | 1.006 | 1.005 | Export | Sept 2010 for 2011 | Yes | Yes | No
7163 | District Energy Aberdare | 33kV | 33kV | 1.018 | 1.02 | 1.023 | 1.019 | Export | Sept 2010 for 2011 | Yes | Yes | No