## Metadata
Data Dictionary
Column Heading | Description
Associated GSP Group | Name of the upstream Grid Supply Point (GSP) group which supplies the substation. Note that multiple GSPs can run in parallel so are therefore reported as groups.
Bulk Supply Point | Name of the upstream Bulk Supply Point (BSP) which supplies the substation.
Substation | Name of the substation for which the generation and demand headroom figures have been calculated.
Supply Level | Identifier for whether the substation is a Primary or a Bulk Supply Point. The definition is supplied in the 'NDP Methodology Report'.
Voltage Level (kV) | Voltage of the lower voltage side of the transformation at the substation.
Latitude | Latitude and longitude of the location of the substation.
Longitude
Scenario | Identifier for one of the four Distribution Future Energy Scenarios (DFES) or Best View scenario the headroom figures refer to
Units | The units used to define the headroom available at each substation under each scenario and all of the years reported on (see below)
2022 | Defines the year snapshot for the headroom calculation, where the year refers to the end of the fiscal year
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2040
2045
2050

## Demand headroom
Associated GSP Group | Bulk Supply Point | Substation | Supply Level | Voltage Level (kV) | Latitude | Longitude | Scenario | Units | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2040 | 2045 | 2050
Chesterfield 132kV | Whitwell | CLOWNE 33 11kV S STN | Primary | 11 | -1.2405 | 53.2791 | Best View | Thermal headroom (MW) | 4.1402 | 4.0976 | 3.9863 | 3.9278 | 3.8194 | 3.6777 | 2.7829 | 1.9583 | 0.96654 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Whitwell | CLOWNE 33 11kV S STN | Primary | 11 | -1.2405 | 53.2791 | Consumer Transformation | Thermal headroom (MW) | 4.1402 | 4.0699 | 3.9463 | 3.8556 | 3.5809 | 3.3044 | 2.2456 | 1.2284 | 0.02433 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Whitwell | CLOWNE 33 11kV S STN | Primary | 11 | -1.2405 | 53.2791 | Leading the Way | Thermal headroom (MW) | 4.1402 | 4.1536 | 4.1591 | 4.1583 | 4.1079 | 4.0561 | 3.4431 | 2.9264 | 2.3095 | 1.5045 | 0.61793 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Whitwell | CLOWNE 33 11kV S STN | Primary | 11 | -1.2405 | 53.2791 | Steady Progression | Thermal headroom (MW) | 4.1402 | 3.9915 | 3.858 | 3.652 | 3.3709 | 3.055 | 1.9128 | 0.7975 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Whitwell | CLOWNE 33 11kV S STN | Primary | 11 | -1.2405 | 53.2791 | System Transformation | Thermal headroom (MW) | 4.1402 | 4.1325 | 4.1327 | 4.1074 | 4.053 | 3.9665 | 3.1769 | 2.3449 | 1.3558 | 0.32338 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Whitwell | CRAGGS LANE 33 11kV S STN | Primary | 11 | -1.1997 | 53.2741 | Best View | Thermal headroom (MW) | 17.2347 | 17.117 | 17.0379 | 16.9497 | 16.8205 | 16.2051 | 15.7413 | 15.3634 | 15.2258 | 15.0479 | 14.3516 | 14.3617 | 14.3711 | 13.9078 | 6.5248 | 1.6477 | 0
Chesterfield 132kV | Whitwell | CRAGGS LANE 33 11kV S STN | Primary | 11 | -1.1997 | 53.2741 | Consumer Transformation | Thermal headroom (MW) | 17.2347 | 17.0814 | 16.9862 | 16.8699 | 16.5885 | 15.8774 | 15.2277 | 14.5589 | 14.2764 | 13.3076 | 12.997 | 12.1156 | 11.8955 | 8.5334 | 0 | 0 | 0
Chesterfield 132kV | Whitwell | CRAGGS LANE 33 11kV S STN | Primary | 11 | -1.1997 | 53.2741 | Leading the Way | Thermal headroom (MW) | 17.2347 | 17.1674 | 17.1748 | 17.1358 | 17.0429 | 16.4727 | 16.0871 | 15.732 | 15.6457 | 15.4778 | 14.7009 | 14.5379 | 14.3734 | 13.6975 | 8.0558 | 0 | 0
Chesterfield 132kV | Whitwell | CRAGGS LANE 33 11kV S STN | Primary | 11 | -1.1997 | 53.2741 | Steady Progression | Thermal headroom (MW) | 17.2347 | 17.0091 | 16.8796 | 16.6687 | 16.3776 | 16.0452 | 15.6928 | 15.3649 | 15.0582 | 14.7737 | 14.5445 | 14.3985 | 14.3523 | 12.0978 | 0 | 0 | 0
Chesterfield 132kV | Whitwell | CRAGGS LANE 33 11kV S STN | Primary | 11 | -1.1997 | 53.2741 | System Transformation | Thermal headroom (MW) | 17.2347 | 17.1171 | 17.0898 | 17.0084 | 15.2558 | 14.0267 | 13.1841 | 11.9854 | 11.1589 | 11.0067 | 9.9707 | 9.8206 | 8.9122 | 8.8945 | 0 | 0 | 0
Chesterfield 132kV | Staveley | ECKINGTON 33 11kV S STN | Primary | 11 | -1.3663 | 53.3032 | Best View | Thermal headroom (MW) | 4.9425 | 4.7998 | 4.6879 | 4.5985 | 4.4258 | 4.2044 | 3.5709 | 2.8528 | 2.2103 | 1.1458 | 0.50568 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Staveley | ECKINGTON 33 11kV S STN | Primary | 11 | -1.3663 | 53.3032 | Consumer Transformation | Thermal headroom (MW) | 4.9425 | 4.7568 | 4.5864 | 4.4761 | 4.1069 | 3.7425 | 2.9248 | 2.0489 | 1.1774 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Staveley | ECKINGTON 33 11kV S STN | Primary | 11 | -1.3663 | 53.3032 | Leading the Way | Thermal headroom (MW) | 4.9425 | 4.8991 | 4.9145 | 4.9298 | 4.8756 | 4.8222 | 4.7424 | 4.5576 | 4.418 | 4.1179 | 3.8501 | 3.5676 | 3.2856 | 3.0164 | 0 | 0 | 0
Chesterfield 132kV | Staveley | ECKINGTON 33 11kV S STN | Primary | 11 | -1.3663 | 53.3032 | Steady Progression | Thermal headroom (MW) | 4.9425 | 4.6528 | 4.4698 | 4.2259 | 3.8635 | 2.7678 | 1.9883 | 1.0321 | 0.073745 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Staveley | ECKINGTON 33 11kV S STN | Primary | 11 | -1.3663 | 53.3032 | System Transformation | Thermal headroom (MW) | 4.9425 | 4.8699 | 4.8596 | 4.8457 | 4.8047 | 4.7213 | 4.602 | 4.2861 | 4.0522 | 3.7993 | 3.1771 | 2.5846 | 2.0693 | 1.6636 | 0 | 0 | 0
Chesterfield 132kV | Staveley | Erin Road | Primary | 11 | -1.3331 | 53.2573 | Best View | Thermal headroom (MW) | 18.7442 | 18.3341 | 17.7404 | 17.1715 | 16.3173 | 13.8505 | 11.8521 | 9.6038 | 7.6651 | 4.6074 | 2.1701 | 0.54092 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Staveley | Erin Road | Primary | 11 | -1.3331 | 53.2573 | Consumer Transformation | Thermal headroom (MW) | 18.7442 | 18.2824 | 17.5968 | 16.9993 | 15.4506 | 13.63 | 10.899 | 7.9386 | 5.1332 | 0.68628 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Staveley | Erin Road | Primary | 11 | -1.3331 | 53.2573 | Leading the Way | Thermal headroom (MW) | 18.7442 | 18.6492 | 18.5233 | 18.3663 | 17.9549 | 17.307 | 16.8666 | 16.0758 | 15.4792 | 14.3836 | 12.879 | 11.6684 | 10.5064 | 9.3946 | 0 | 0 | 0
Chesterfield 132kV | Staveley | Erin Road | Primary | 11 | -1.3331 | 53.2573 | Steady Progression | Thermal headroom (MW) | 18.7442 | 17.9067 | 17.092 | 15.9315 | 14.3091 | 10.4319 | 7.7897 | 4.5897 | 1.8488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Staveley | Erin Road | Primary | 11 | -1.3331 | 53.2573 | System Transformation | Thermal headroom (MW) | 18.7442 | 18.6041 | 18.4141 | 18.0506 | 17.5378 | 16.6896 | 16.0092 | 14.7423 | 13.7968 | 12.7442 | 9.6325 | 7.7295 | 6.0577 | 4.8784 | 0 | 0 | 0
Chesterfield 132kV | Staveley | HALFWAY 33 11kV S STN | Primary | 11 | -1.3421 | 53.3283 | Best View | Thermal headroom (MW) | 7.9761 | 7.9905 | 7.9694 | 7.8389 | 7.6775 | 6.8222 | 6.3115 | 5.769 | 5.229 | 3.3931 | 1.3488 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Staveley | HALFWAY 33 11kV S STN | Primary | 11 | -1.3421 | 53.3283 | Consumer Transformation | Thermal headroom (MW) | 7.9761 | 7.9609 | 7.8651 | 7.7557 | 7.4691 | 7.2036 | 6.5639 | 5.9696 | 4.0118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Staveley | HALFWAY 33 11kV S STN | Primary | 11 | -1.3421 | 53.3283 | Leading the Way | Thermal headroom (MW) | 7.9761 | 8.0203 | 8.0344 | 7.9986 | 7.9283 | 7.8767 | 7.8212 | 7.7501 | 7.6808 | 7.5477 | 7.4105 | 7.267 | 7.1192 | 6.9714 | 0 | 0 | 0
Chesterfield 132kV | Staveley | HALFWAY 33 11kV S STN | Primary | 11 | -1.3421 | 53.3283 | Steady Progression | Thermal headroom (MW) | 7.9761 | 7.9195 | 7.832 | 7.6325 | 7.3478 | 6.3662 | 5.753 | 3.4982 | 0.19669 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Staveley | HALFWAY 33 11kV S STN | Primary | 11 | -1.3421 | 53.3283 | System Transformation | Thermal headroom (MW) | 7.9761 | 8.0144 | 8.0222 | 7.9519 | 7.8512 | 7.7702 | 7.6788 | 7.5808 | 7.4679 | 7.3444 | 6.8319 | 6.3299 | 5.8456 | 5.4238 | 0 | 0 | 0
Chesterfield 132kV | Whitwell | HOLME CARR 33 11kV S STN | Primary | 11 | -1.165 | 53.3133 | Best View | Thermal headroom (MW) | 9.0876 | 8.9543 | 8.8047 | 7.8692 | 6.6114 | 5.6809 | 4.5424 | 3.4177 | 2.0933 | 0.66297 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Whitwell | HOLME CARR 33 11kV S STN | Primary | 11 | -1.165 | 53.3133 | Consumer Transformation | Thermal headroom (MW) | 9.0876 | 8.9519 | 8.7997 | 7.8493 | 6.5545 | 5.6032 | 4.4269 | 3.2588 | 1.8948 | 0.4163 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Whitwell | HOLME CARR 33 11kV S STN | Primary | 11 | -1.165 | 53.3133 | Leading the Way | Thermal headroom (MW) | 9.0876 | 9.0137 | 8.9415 | 8.1191 | 7.2565 | 6.4138 | 5.5566 | 4.823 | 3.9838 | 2.9985 | 1.8892 | 0.68997 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Whitwell | HOLME CARR 33 11kV S STN | Primary | 11 | -1.165 | 53.3133 | Steady Progression | Thermal headroom (MW) | 9.0876 | 8.9061 | 8.7351 | 7.5835 | 6.2576 | 4.9195 | 3.6694 | 2.4613 | 1.3002 | 0.11192 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Whitwell | HOLME CARR 33 11kV S STN | Primary | 11 | -1.165 | 53.3133 | System Transformation | Thermal headroom (MW) | 9.0876 | 8.9991 | 8.8981 | 7.9588 | 6.7828 | 5.9479 | 4.9354 | 3.884 | 2.6664 | 1.4206 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Whitwell | SHIREBROOK 33 11kV S STN | Primary | 11 | -1.2442 | 53.1962 | Best View | Thermal headroom (MW) | 10.9374 | 10.9104 | 10.8331 | 10.7512 | 10.6547 | 10.5611 | 10.4277 | 10.344 | 10.2121 | 10.0358 | 9.9281 | 9.9072 | 9.8817 | 9.8715 | 6.4512 | 1.6291 | 0
Chesterfield 132kV | Whitwell | SHIREBROOK 33 11kV S STN | Primary | 11 | -1.2442 | 53.1962 | Consumer Transformation | Thermal headroom (MW) | 10.9374 | 10.8981 | 10.808 | 10.6971 | 10.4859 | 10.3081 | 10.0761 | 9.8872 | 9.6332 | 9.2728 | 8.9866 | 8.7824 | 8.5723 | 8.3982 | 0 | 0 | 0
Chesterfield 132kV | Whitwell | SHIREBROOK 33 11kV S STN | Primary | 11 | -1.2442 | 53.1962 | Leading the Way | Thermal headroom (MW) | 10.9374 | 10.9369 | 10.925 | 10.8854 | 10.8227 | 10.7678 | 10.7122 | 10.6525 | 10.5845 | 10.4568 | 10.3321 | 10.1943 | 10.0676 | 9.9434 | 7.9649 | 0 | 0
Chesterfield 132kV | Whitwell | SHIREBROOK 33 11kV S STN | Primary | 11 | -1.2442 | 53.1962 | Steady Progression | Thermal headroom (MW) | 10.9374 | 10.8556 | 10.7516 | 10.5586 | 10.3256 | 10.106 | 9.8798 | 9.6354 | 9.3618 | 9.1108 | 8.8821 | 8.7188 | 8.6273 | 8.5606 | 0 | 0 | 0
Chesterfield 132kV | Whitwell | SHIREBROOK 33 11kV S STN | Primary | 11 | -1.2442 | 53.1962 | System Transformation | Thermal headroom (MW) | 10.9374 | 10.9283 | 10.8865 | 10.8106 | 10.7162 | 10.6284 | 10.5421 | 10.4417 | 10.3148 | 10.1857 | 10.0379 | 9.8992 | 9.8049 | 9.7408 | 0 | 0 | 0
Chesterfield 132kV | Staveley | STAVELEY 11kV S STN | Primary | 11 | -1.3851 | 53.2671 | Best View | Thermal headroom (MW) | 14.7217 | 14.5138 | 14.1906 | 13.9436 | 13.6329 | 12.5802 | 11.8187 | 9.6027 | 7.6642 | 4.6069 | 2.1698 | 0.54085 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Staveley | STAVELEY 11kV S STN | Primary | 11 | -1.3851 | 53.2671 | Consumer Transformation | Thermal headroom (MW) | 14.7217 | 14.5214 | 14.2065 | 13.9374 | 13.3439 | 12.7416 | 10.8978 | 7.9377 | 5.1326 | 0.6862 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Staveley | STAVELEY 11kV S STN | Primary | 11 | -1.3851 | 53.2671 | Leading the Way | Thermal headroom (MW) | 14.7217 | 14.6425 | 14.5212 | 14.4293 | 14.2663 | 14.1261 | 13.9699 | 13.7989 | 13.6248 | 13.2749 | 12.4457 | 11.6671 | 10.5052 | 9.3935 | 0 | 0 | 0
Chesterfield 132kV | Staveley | STAVELEY 11kV S STN | Primary | 11 | -1.3851 | 53.2671 | Steady Progression | Thermal headroom (MW) | 14.7217 | 14.356 | 13.9579 | 13.4581 | 12.8312 | 10.4306 | 7.7887 | 4.5892 | 1.8486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Staveley | STAVELEY 11kV S STN | Primary | 11 | -1.3851 | 53.2671 | System Transformation | Thermal headroom (MW) | 14.7217 | 14.6426 | 14.5042 | 14.3094 | 14.1111 | 13.9046 | 13.676 | 13.4038 | 13.0868 | 12.7427 | 9.6314 | 7.7286 | 6.057 | 4.8778 | 0 | 0 | 0
Chesterfield 132kV | Staveley | WESTHORPE 33 11kV S STN | Primary | 11 | -1.3165 | 53.3089 | Best View | Thermal headroom (MW) | 10.655 | 10.6621 | 10.5949 | 10.4605 | 10.1524 | 9.176 | 8.4735 | 7.3982 | 6.6007 | 3.3973 | 1.3504 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Staveley | WESTHORPE 33 11kV S STN | Primary | 11 | -1.3165 | 53.3089 | Consumer Transformation | Thermal headroom (MW) | 10.655 | 10.6164 | 10.4639 | 10.3303 | 9.7674 | 9.2563 | 8.2708 | 7.018 | 4.0168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Staveley | WESTHORPE 33 11kV S STN | Primary | 11 | -1.3165 | 53.3089 | Leading the Way | Thermal headroom (MW) | 10.655 | 10.7568 | 10.8127 | 10.8169 | 10.6843 | 10.5969 | 10.5209 | 10.1621 | 9.9484 | 9.5604 | 9.1775 | 8.7834 | 8.4197 | 8.0635 | 0 | 0 | 0
Chesterfield 132kV | Staveley | WESTHORPE 33 11kV S STN | Primary | 11 | -1.3165 | 53.3089 | Steady Progression | Thermal headroom (MW) | 10.655 | 10.5116 | 10.3511 | 10.0232 | 9.4476 | 8.1009 | 7.1598 | 3.5025 | 0.19694 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chesterfield 132kV | Staveley | WESTHORPE 33 11kV S STN | Primary | 11 | -1.3165 | 53.3089 | System Transformation | Thermal headroom (MW) | 10.655 | 10.7396 | 10.7831 | 10.7279 | 10.5292 | 10.377 | 10.2103 | 9.6374 | 9.3206 | 8.9706 | 8.1843 | 7.4139 | 6.739 | 5.579 | 0 | 0 | 0

## Generation headroom
Associated GSP Group | Bulk Supply Point | Substation | Supply Level | Voltage Level (kV) | Latitude | Longitude | Scenario | Units | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2040 | 2045 | 2050
Chesterfield 132kV | Whitwell | CLOWNE 33 11kV S STN | Primary | 11 | -1.2405 | 53.2791 | Best View | Thermal headroom (MW) | 11.5389 | 11.5147 | 11.4942 | 11.4724 | 10.2225 | 10.1782 | 10.1983 | 10.2018 | 10.2056 | 10.2008 | 10.1904 | 10.1552 | 10.0279 | 9.9553 | 8.6834 | 7.2391 | 5.1352
Chesterfield 132kV | Whitwell | CLOWNE 33 11kV S STN | Primary | 11 | -1.2405 | 53.2791 | Consumer Transformation | Thermal headroom (MW) | 11.5389 | 11.5031 | 11.479 | 10.1776 | 10.0355 | 9.773 | 9.6152 | 9.3871 | 9.0938 | 8.7405 | 8.3788 | 7.9882 | 7.4439 | 7.0368 | 4.0216 | 0.77977 | 0
Chesterfield 132kV | Whitwell | CLOWNE 33 11kV S STN | Primary | 11 | -1.2405 | 53.2791 | Leading the Way | Thermal headroom (MW) | 11.5389 | 11.5183 | 11.4991 | 11.4815 | 11.4689 | 10.2399 | 11.4602 | 11.459 | 11.4534 | 11.4411 | 11.4308 | 10.273 | 10.2632 | 10.278 | 11.4026 | 10.2865 | 9.711
Chesterfield 132kV | Whitwell | CLOWNE 33 11kV S STN | Primary | 11 | -1.2405 | 53.2791 | Steady Progression | Thermal headroom (MW) | 11.5389 | 11.5013 | 11.4784 | 10.1595 | 9.9943 | 9.732 | 9.6224 | 9.4882 | 9.2675 | 9.0412 | 8.6905 | 8.3268 | 7.861 | 7.4506 | 4.1383 | 0.64692 | 0
Chesterfield 132kV | Whitwell | CLOWNE 33 11kV S STN | Primary | 11 | -1.2405 | 53.2791 | System Transformation | Thermal headroom (MW) | 11.5389 | 11.5121 | 11.4884 | 10.2277 | 10.2159 | 10.1592 | 10.1639 | 10.138 | 10.061 | 9.9258 | 9.779 | 9.6419 | 9.3379 | 9.2039 | 8.04 | 6.4281 | 4.2535
Chesterfield 132kV | Whitwell | CRAGGS LANE 33 11kV S STN | Primary | 11 | -1.1997 | 53.2741 | Best View | Thermal headroom (MW) | 7.0296 | 6.931 | 6.8966 | 6.8322 | 6.7535 | 6.6624 | 6.5773 | 6.4745 | 6.3822 | 6.321 | 6.2543 | 6.1757 | 6.1361 | 6.0856 | 5.6378 | 4.7936 | 4.8799
Chesterfield 132kV | Whitwell | CRAGGS LANE 33 11kV S STN | Primary | 11 | -1.1997 | 53.2741 | Consumer Transformation | Thermal headroom (MW) | 7.0296 | 6.9072 | 6.8308 | 6.6675 | 6.4945 | 6.28 | 6.0587 | 5.8166 | 5.5811 | 5.361 | 5.1435 | 4.8975 | 4.6727 | 4.4476 | 2.184 | 0.42423 | 0
Chesterfield 132kV | Whitwell | CRAGGS LANE 33 11kV S STN | Primary | 11 | -1.1997 | 53.2741 | Leading the Way | Thermal headroom (MW) | 7.0296 | 6.9368 | 6.9095 | 6.8917 | 6.867 | 6.8415 | 6.8158 | 6.7828 | 6.7429 | 6.7072 | 6.675 | 6.6495 | 6.6285 | 6.6148 | 6.6385 | 6.6422 | 7.6698
Chesterfield 132kV | Whitwell | CRAGGS LANE 33 11kV S STN | Primary | 11 | -1.1997 | 53.2741 | Steady Progression | Thermal headroom (MW) | 7.0296 | 6.9028 | 6.8184 | 6.648 | 6.4713 | 6.264 | 6.0485 | 5.8156 | 5.5492 | 4.0888 | 3.8618 | 3.6518 | 3.434 | 0 | 0 | 0 | 0
Chesterfield 132kV | Whitwell | CRAGGS LANE 33 11kV S STN | Primary | 11 | -1.1997 | 53.2741 | System Transformation | Thermal headroom (MW) | 7.0296 | 6.9278 | 6.8829 | 6.824 | 6.7482 | 6.6591 | 6.5702 | 6.4682 | 6.3617 | 6.2655 | 6.1748 | 6.104 | 6.0423 | 3.5263 | 2.3175 | 1.5687 | 3.0358
Chesterfield 132kV | Staveley | ECKINGTON 33 11kV S STN | Primary | 11 | -1.3663 | 53.3032 | Best View | Thermal headroom (MW) | 16.9554 | 16.8818 | 16.7526 | 16.4381 | 16.1412 | 15.8317 | 15.5644 | 15.3259 | 15.1893 | 13.4629 | 13.1573 | 12.6728 | 12.0604 | 11.5604 | 9.3755 | 6.2351 | 2.2863
Chesterfield 132kV | Staveley | ECKINGTON 33 11kV S STN | Primary | 11 | -1.3663 | 53.3032 | Consumer Transformation | Thermal headroom (MW) | 16.9554 | 16.8804 | 16.7501 | 16.4315 | 16.1283 | 15.8093 | 15.5209 | 15.2657 | 13.5152 | 13.2939 | 12.829 | 12.2107 | 11.5069 | 10.9861 | 8.575 | 5.1715 | 1.1131
Chesterfield 132kV | Staveley | ECKINGTON 33 11kV S STN | Primary | 11 | -1.3663 | 53.3032 | Leading the Way | Thermal headroom (MW) | 16.9554 | 16.9372 | 16.8974 | 16.8566 | 16.8004 | 16.7302 | 16.6518 | 16.5518 | 16.3726 | 16.123 | 15.8148 | 15.519 | 15.2261 | 15.1441 | 13.6115 | 13.5522 | 12.9501
Chesterfield 132kV | Staveley | ECKINGTON 33 11kV S STN | Primary | 11 | -1.3663 | 53.3032 | Steady Progression | Thermal headroom (MW) | 16.9554 | 16.8754 | 16.7291 | 16.3947 | 16.084 | 15.7677 | 15.5069 | 15.3184 | 15.1896 | 13.4875 | 13.2134 | 12.714 | 11.9993 | 11.3434 | 8.1293 | 4.3263 | 0.30767
Chesterfield 132kV | Staveley | ECKINGTON 33 11kV S STN | Primary | 11 | -1.3663 | 53.3032 | System Transformation | Thermal headroom (MW) | 16.9554 | 16.9166 | 16.8387 | 16.7155 | 16.5726 | 16.3801 | 16.1797 | 15.9335 | 15.5898 | 15.2653 | 13.5342 | 13.3332 | 12.8917 | 12.613 | 11.6535 | 9.8123 | 7.3889
Chesterfield 132kV | Staveley | Erin Road | Primary | 11 | -1.3331 | 53.2573 | Best View | Thermal headroom (MW) | 32.7879 | 32.7661 | 31.4969 | 31.4706 | 31.4262 | 31.4264 | 31.3501 | 31.2794 | 31.1613 | 31.0773 | 30.9638 | 30.8166 | 30.6873 | 30.5472 | 29.6065 | 28.7804 | 27.6542
Chesterfield 132kV | Staveley | Erin Road | Primary | 11 | -1.3331 | 53.2573 | Consumer Transformation | Thermal headroom (MW) | 32.7879 | 32.7438 | 31.4845 | 31.4206 | 31.3149 | 31.2406 | 31.0811 | 30.9438 | 30.7508 | 30.599 | 30.4308 | 30.2218 | 30.02 | 29.8068 | 28.4601 | 27.2743 | 25.9593
Chesterfield 132kV | Staveley | Erin Road | Primary | 11 | -1.3331 | 53.2573 | Leading the Way | Thermal headroom (MW) | 32.7879 | 32.7712 | 32.7557 | 31.4925 | 31.4863 | 31.4949 | 31.4909 | 31.4896 | 31.4844 | 31.4791 | 31.4719 | 31.4636 | 31.4544 | 31.4441 | 31.3971 | 31.3698 | 31.2106
Chesterfield 132kV | Staveley | Erin Road | Primary | 11 | -1.3331 | 53.2573 | Steady Progression | Thermal headroom (MW) | 32.7879 | 32.7427 | 31.4833 | 31.4121 | 31.2955 | 31.2441 | 31.0559 | 30.8975 | 30.6718 | 30.4915 | 30.2801 | 30.0519 | 29.8333 | 29.6191 | 28.2497 | 26.9882 | 25.1853
Chesterfield 132kV | Staveley | Erin Road | Primary | 11 | -1.3331 | 53.2573 | System Transformation | Thermal headroom (MW) | 32.7879 | 32.7606 | 31.4948 | 31.4775 | 31.4452 | 31.438 | 31.3859 | 31.3498 | 31.2744 | 31.216 | 31.1425 | 31.0693 | 30.9936 | 30.9182 | 30.3625 | 29.811 | 29.1558
Chesterfield 132kV | Staveley | HALFWAY 33 11kV S STN | Primary | 11 | -1.3421 | 53.3283 | Best View | Thermal headroom (MW) | 10.2667 | 10.0554 | 9.9733 | 9.9314 | 9.7463 | 9.563 | 9.3879 | 9.2172 | 9.0466 | 8.8862 | 8.7319 | 8.5787 | 8.434 | 8.2929 | 7.2703 | 5.8658 | 4.0889
Chesterfield 132kV | Staveley | HALFWAY 33 11kV S STN | Primary | 11 | -1.3421 | 53.3283 | Consumer Transformation | Thermal headroom (MW) | 10.2667 | 10.0586 | 9.9844 | 9.7946 | 9.6081 | 9.4289 | 9.2579 | 9.0849 | 8.9255 | 8.7839 | 8.6449 | 8.4817 | 8.3474 | 8.2152 | 7.4577 | 6.2171 | 10.1557
Chesterfield 132kV | Staveley | HALFWAY 33 11kV S STN | Primary | 11 | -1.3421 | 53.3283 | Leading the Way | Thermal headroom (MW) | 10.2667 | 10.2416 | 10.0602 | 10.0298 | 9.9988 | 9.9659 | 9.9324 | 9.8967 | 9.8542 | 9.8165 | 9.7834 | 9.7551 | 9.7356 | 9.722 | 9.7579 | 9.738 | 9.4811
Chesterfield 132kV | Staveley | HALFWAY 33 11kV S STN | Primary | 11 | -1.3421 | 53.3283 | Steady Progression | Thermal headroom (MW) | 10.2667 | 10.0554 | 9.971 | 9.7713 | 9.5782 | 9.391 | 9.2126 | 9.042 | 8.8764 | 8.7186 | 8.5653 | 8.4158 | 8.274 | 8.2899 | 7.2255 | 11.3679 | 6.9196
Chesterfield 132kV | Staveley | HALFWAY 33 11kV S STN | Primary | 11 | -1.3421 | 53.3283 | System Transformation | Thermal headroom (MW) | 10.2667 | 10.0752 | 10.0298 | 9.956 | 9.8694 | 9.7737 | 9.6854 | 9.5963 | 9.5102 | 9.433 | 9.3675 | 9.3107 | 9.2618 | 9.2277 | 9.1335 | 8.577 | 13.2802
Chesterfield 132kV | Whitwell | HOLME CARR 33 11kV S STN | Primary | 11 | -1.165 | 53.3133 | Best View | Thermal headroom (MW) | 15.6828 | 15.5488 | 15.469 | 15.5223 | 15.6521 | 15.6801 | 15.7585 | 15.8238 | 15.9321 | 16.0685 | 16.2601 | 16.4089 | 16.4614 | 16.5078 | 16.6101 | 15.6618 | 13.9736
Chesterfield 132kV | Whitwell | HOLME CARR 33 11kV S STN | Primary | 11 | -1.165 | 53.3133 | Consumer Transformation | Thermal headroom (MW) | 15.6828 | 15.5507 | 15.4727 | 15.5222 | 15.649 | 15.6777 | 15.7513 | 15.8206 | 15.9418 | 16.0816 | 16.2904 | 16.4363 | 16.4746 | 16.507 | 16.5124 | 14.8086 | 12.769
Chesterfield 132kV | Whitwell | HOLME CARR 33 11kV S STN | Primary | 11 | -1.165 | 53.3133 | Leading the Way | Thermal headroom (MW) | 15.6828 | 15.6606 | 15.5598 | 15.7467 | 15.9427 | 16.1328 | 16.32 | 16.4702 | 16.6401 | 16.8395 | 17.0718 | 17.3348 | 17.6262 | 17.9332 | 19.4586 | 19.5539 | 19.2118
Chesterfield 132kV | Whitwell | HOLME CARR 33 11kV S STN | Primary | 11 | -1.165 | 53.3133 | Steady Progression | Thermal headroom (MW) | 15.6828 | 15.5491 | 15.4651 | 15.5413 | 15.672 | 15.7982 | 15.8947 | 15.9681 | 16.0248 | 16.0936 | 16.1506 | 16.2192 | 16.2993 | 16.382 | 16.7035 | 15.2493 | 7.7941
Chesterfield 132kV | Whitwell | HOLME CARR 33 11kV S STN | Primary | 11 | -1.165 | 53.3133 | System Transformation | Thermal headroom (MW) | 15.6828 | 15.572 | 15.5302 | 15.6944 | 15.9206 | 16.0381 | 16.2004 | 16.3631 | 16.5622 | 16.777 | 17.0609 | 17.3282 | 17.476 | 17.6274 | 18.2433 | 17.8603 | 17.0643
Chesterfield 132kV | Whitwell | SHIREBROOK 33 11kV S STN | Primary | 11 | -1.2442 | 53.1962 | Best View | Thermal headroom (MW) | 15.394 | 15.3638 | 15.3381 | 9.0031 | 8.9157 | 8.8161 | 8.7095 | 8.5647 | 8.3786 | 8.159 | 7.8868 | 7.5867 | 7.249 | 7.0075 | 6.2961 | 5.2461 | 3.8948
Chesterfield 132kV | Whitwell | SHIREBROOK 33 11kV S STN | Primary | 11 | -1.2442 | 53.1962 | Consumer Transformation | Thermal headroom (MW) | 15.394 | 15.3446 | 15.2863 | 8.8622 | 8.6957 | 8.4685 | 8.2057 | 7.882 | 7.4758 | 7.0111 | 6.5038 | 5.97 | 5.3804 | 4.9195 | 3.1047 | 0.7545 | 4.7472
Chesterfield 132kV | Whitwell | SHIREBROOK 33 11kV S STN | Primary | 11 | -1.2442 | 53.1962 | Leading the Way | Thermal headroom (MW) | 15.394 | 15.3727 | 15.3538 | 9.075 | 9.0482 | 9.0143 | 8.9709 | 8.9004 | 8.7826 | 8.6055 | 8.379 | 8.143 | 7.8428 | 7.6472 | 7.3816 | 7.0603 | 6.533
Chesterfield 132kV | Whitwell | SHIREBROOK 33 11kV S STN | Primary | 11 | -1.2442 | 53.1962 | Steady Progression | Thermal headroom (MW) | 15.394 | 15.3419 | 15.2789 | 15.1359 | 15.0043 | 14.8946 | 14.1182 | 14.0039 | 13.7557 | 13.454 | 13.0486 | 12.5846 | 12.021 | 11.5072 | 9.3538 | 6.9297 | 5.0196
Chesterfield 132kV | Whitwell | SHIREBROOK 33 11kV S STN | Primary | 11 | -1.2442 | 53.1962 | System Transformation | Thermal headroom (MW) | 15.394 | 15.3613 | 15.3292 | 9.0094 | 8.9325 | 8.8341 | 8.7148 | 8.5336 | 8.262 | 7.9249 | 7.5474 | 7.1867 | 6.7641 | 6.5092 | 5.7604 | 4.6046 | 9.2953
Chesterfield 132kV | Staveley | STAVELEY 11kV S STN | Primary | 11 | -1.3851 | 53.2671 | Best View | Thermal headroom (MW) | 5.9666 | 5.8709 | 5.8159 | 5.5811 | 5.3509 | 5.0883 | 4.8263 | 4.4949 | 4.1448 | 3.7843 | 3.5318 | 2.9821 | 2.4113 | 2.0157 | 0.44723 | 0 | 0
Chesterfield 132kV | Staveley | STAVELEY 11kV S STN | Primary | 11 | -1.3851 | 53.2671 | Consumer Transformation | Thermal headroom (MW) | 5.9666 | 5.8009 | 5.6461 | 5.2367 | 4.8279 | 4.406 | 3.9659 | 3.4402 | 2.8793 | 2.2823 | 1.9244 | 1.1631 | 0.3811 | 0 | 0 | 0 | 0
Chesterfield 132kV | Staveley | STAVELEY 11kV S STN | Primary | 11 | -1.3851 | 53.2671 | Leading the Way | Thermal headroom (MW) | 5.9666 | 5.9364 | 5.8544 | 5.8096 | 5.7614 | 5.7002 | 5.6238 | 5.5127 | 5.3299 | 5.0735 | 4.8825 | 4.5856 | 4.2011 | 3.9802 | 3.9211 | 3.72 | 6.6044
Chesterfield 132kV | Staveley | STAVELEY 11kV S STN | Primary | 11 | -1.3851 | 53.2671 | Steady Progression | Thermal headroom (MW) | 5.9666 | 5.7965 | 5.6271 | 5.1865 | 4.7575 | 4.3249 | 3.8961 | 3.4667 | 2.9919 | 2.5265 | 2.1169 | 1.4119 | 0.58871 | 0 | 0 | 0 | 0
Chesterfield 132kV | Staveley | STAVELEY 11kV S STN | Primary | 11 | -1.3851 | 53.2671 | System Transformation | Thermal headroom (MW) | 5.9666 | 5.8515 | 5.7709 | 5.6257 | 5.4474 | 5.2253 | 4.9811 | 4.663 | 4.2565 | 3.775 | 3.5486 | 3.0289 | 2.4359 | 2.1293 | 1.0723 | 0 | 0.23634
Chesterfield 132kV | Staveley | WESTHORPE 33 11kV S STN | Primary | 11 | -1.3165 | 53.3089 | Best View | Thermal headroom (MW) | 20.3179 | 20.2514 | 20.1688 | 19.9812 | 19.8201 | 19.6381 | 19.436 | 19.2909 | 19.1069 | 18.975 | 18.8545 | 18.7641 | 17.2465 | 17.212 | 16.3248 | 14.8137 | 7.5492
Chesterfield 132kV | Staveley | WESTHORPE 33 11kV S STN | Primary | 11 | -1.3165 | 53.3089 | Consumer Transformation | Thermal headroom (MW) | 20.3179 | 20.2517 | 20.1676 | 19.9807 | 19.8205 | 19.6434 | 19.4499 | 19.3201 | 19.1511 | 19.0238 | 18.9105 | 18.8007 | 18.7439 | 17.2474 | 16.4055 | 14.8279 | 10.6053
Chesterfield 132kV | Staveley | WESTHORPE 33 11kV S STN | Primary | 11 | -1.3165 | 53.3089 | Leading the Way | Thermal headroom (MW) | 20.3179 | 20.2862 | 20.255 | 20.224 | 20.2009 | 20.1658 | 20.1207 | 20.1188 | 20.0849 | 20.0563 | 20.0282 | 20.0053 | 19.9803 | 19.9591 | 19.9115 | 19.8686 | 19.5503
Chesterfield 132kV | Staveley | WESTHORPE 33 11kV S STN | Primary | 11 | -1.3165 | 53.3089 | Steady Progression | Thermal headroom (MW) | 20.3179 | 20.2482 | 20.157 | 19.9608 | 19.7977 | 19.6136 | 19.4023 | 19.2674 | 19.089 | 18.9539 | 18.8367 | 18.7599 | 17.2451 | 17.1891 | 16.0491 | 14.3155 | 6.9167
Chesterfield 132kV | Staveley | WESTHORPE 33 11kV S STN | Primary | 11 | -1.3165 | 53.3089 | System Transformation | Thermal headroom (MW) | 20.3179 | 20.2708 | 20.2189 | 20.1427 | 20.0752 | 19.9794 | 19.8662 | 19.8245 | 19.7202 | 19.6354 | 19.5512 | 19.4766 | 19.4028 | 19.337 | 18.9395 | 17.311 | 16.7045